## File formats
# | Prio | Manufacturer name | OEM Software Name | Extension of native format | Python reader available? | Python reader | Test data available ? | P reader tested ? | Remarks
| A | CSV |  | .csv | yes | CHARISMA | yes | yes
| A | JCAMP-DX |  | .jdx, .dx | yes | CHARISMA | yes | yes
1 | A | BWTek | BWSpec | .txt | yes | CHARISMA | yes | yes | txt in various formats some devices hve specific cvs formats. Sw comes with txt translators as V3 and v4 of BWSpec are not directly compatible
2 | A | Renishaw | WiRE | xyspc maps, images, multiple spectra with x and y coordinates (default) | yes |  | no | no
|  |  |  | spc single spectrum | yes | specio | yes | yes
|  |  |  | depth, "zspc" depth series | yes |  | no | no
|  |  |  | ts time series |  |  | no | no
|  |  |  | wdf | yes | renishawWiRE, https://pypi.org/project/renishawWiRE/, GNU GPLv3 | yes | yes
|  |  |  | WXD (wire <4.x) | no |  | yes | no | WXD is outdated since Wire 4.X (2015). Could not find file format description. Spectragryph can't open those either.
3 | A | Horiba | LabSpec | .prn (ASCII) | yes | CHARISMA | yes | yes
|  |  |  | .ngs (LabspecRaman 4) (for labspec6.x) | no |  | yes | no | Can purchase for 2.1k €
|  |  |  | LS6 | no |  | yes | no | Spectragryph can open
|  |  |  | LS5 | no |  | no | no
|  |  |  | SPC | yes | specio | yes | yes
|  |  |  | TXT. | yes | CHARISMA | yes | yes
4 | A | Witec | SUITE | .wip | no | OpenSpectralWorks, specio | yes | no | Export single sspectra or maps to .spc by right-click
5 | A | Kaiser | Hologram | .hol | t.b.d. |  | no | no | Spectragryph can't open those either.
6 | A | Bruker | OPUS | ".0" | yes | OPUSFC, https://github.com/stuart-cls/python-opusfc-dist; spectrochempy | yes | yes
8 | A | Thermo Fisher | GRAMS | spc | yes | OpenSpectralWorks, specio | yes | yes
9 | B | ocean optics | .procspec | .procspec
10 | B | Andor |  | Andor Solis ASCII
11 | B | stellar net |  | *.abs, | yes
*.trm,
*.ssm,
*.irr,
*.lib
12 | B | timegate instruments
13 | B | RRUFF data | rruff | rruff | yes | CHARISMA | yes | yes
7 | B | Perkin Elmer | Spectrum | .sp | yes | specio, https://specio.readthedocs.io | yes | doesn't work
14 | C | agilent
15 | C | Cytospec |  | Matlab | yes
16 | C | Princeton Instruments |  | spe | yes
17 | C | Jascom |  | .jws
18 | C | JRM
19 |  | Ostec /sol instruments |  | sps | yes |  | yes
20 | C |  |  | tsp | yes |  | yes
21 | C | Parr
22 | C | physical optics
23 | C | Solix |  | txt |  | CHARISMA | yes
(some of these files do not apply to Raman spectroscopy, but other spectroscopy applications, ike UV)

## Tabelle1
Format | extensions | Manufacturer
Text | .txt, .txtr, .prn, … | various (BWTec, Ostec, RRUFF
CSV | .csv | various
JCAMP-DX | .jdx, .dx | various
SPC | .spc | various (Galactic Industries)
SPA | .spa | Thermo Fisher / Nicolet
WDF | .wdf | Renishaw Wire >4.X
OPUS | .0, .1, … | Bruker

## Models
BWTek Alpha 300R
BWTek i-Raman +
Horiba Aramis
Horiba HR800
Horiba JobinYvon Aramis
Horiba JobinYvon HR800
Horiba JobinYvon XploRA INV
Horiba Micro HR
Horiba XploRA INV
Kaiser RXN-2 Hybrid
Renishaw InVia
Thermo Fisher Scientific DXR TM
Witec Alpha 300RSA+

## Lasers
Lasser type | Wavelength [nm] | Comment
Diode-pumped SLM lasers (DPLs) | 355
457
473
491
514
532
561
640
660
780
Single-mode diode lasers | 785 | most commonly used
830
980
| 1064 | near-IR

## File formats table
# | Manufacturer name | Importance (A-D) | OEM Software Name | Extension of native format | Python reader available? | Test data available ?
1 | Renishaw |  | WiRE | "xyspc" maps, images, multiple spectra with x and y coordinates (default) "spc" single spectrum and "WXD" (wire 4.x) "depth", "zspc" depth series "ts" time series | yes | yes
xyspc maps, images, multiple spectra with x and y coordinates (default)
spc single spectrum
depth, "zspc" depth series
ts time series
WXD (wire 4.x)
2 | BWTek |  | BWSpec | .txtr txt in various formats some devices hve specific cvs formats. Sw comes with txt translators as V3 and v4 of BWSpec are not directly compatible
3 | Horiba |  | LabSpec | .prn (ASCII) .ngs (LabspecRaman 4) (for labspec6.x) LS6, LS5, SPC and TXT.
4 | Witec |  | SUITE
5 | Thermo Fisher |  | GRAMS | spc | OpenSpectralWorks, specio | OpenSpectralWorks, specio
6 | Kaiser |  | Hologram | .hol
7 | Bruker |  | OPUS
8 | Cytospec |  |  | Matlab
9 | Andor |  |  | Andor Solis ASCII
10 | Princeton Instruments |  |  | spe
11 | Jascom |  |  | .jws
12 | JRM
13 | Ostec /sol instruments
14 | Parr
15 | physical optics
16 | timegate instruments
17 | agilent
18 | Perkin Elmer |  | Spectrum | .sp
19 | RRUFF data |  | rruff | rruff
20 | ocean optics |  | .procspec | .procspec
21 | stellar net |  |  | *.abs, *.trm, *.ssm, *.irr, *.lib (some of these files do not apply to Raman spectroscopy, but other spectroscopy applications, ike UV)

## Gwyddion
File Format | Extensions | Module | Read | Write | SPS | Volume
Accurex II text data | .txt | accurexii-txt | Yes | — | — | —
AFM Workshop spectroscopy | .csv | afmw-spec | — | — | Yes | —
AIST-NT | .aist | aistfile | Yes | — | — | —
Alicona Imaging AL3D data | .al3d | alicona | Yes | — | — | —
Ambios AMB | .amb | ambfile | Yes[a] | — | — | —
Ambios 1D profilometry data | .dat, .xml | ambprofile | Yes | — | — | —
Analysis Studio XML | .axd, .axz | anasys_xml | Yes | — | Yes | —
Anfatec | .par, .int | anfatec | Yes | — | — | —
A.P.E. Research DAX | .dax | apedaxfile | Yes | — | — | —
A.P.E. Research APDT | .apdt | apedaxfile | Yes | — | — | —
A.P.E. Research DAT | .dat | apefile | Yes | — | — | —
Text matrix of data values | .txt | asciiexport | — | Yes | — | —
Assing AFM | .afm | assing-afm | Yes | Yes | — | —
Attocube Systems ASC | .asc | attocube | Yes | — | — | —
Image Metrology BCR, BCRF | .bcr, .bcrf | bcrfile | Yes | — | — | —
Burleigh BII | .bii | burleigh_bii | Yes | — | — | —
Burleigh IMG v2.1 | .img | burleigh | Yes | — | — | —
Burleigh exported data | .txt, .bin | burleigh_exp | Yes | — | — | —
Code V interferogram data | .int | codevfile | Yes | — | — | —
Createc DAT | .dat | createc | Yes | — | — | —
Benyuan CSM | .csm | csmfile | Yes | — | — | —
Dektak OPDx profilometry data | .OPDx | dektakvca | Yes | — | — | —
Dektak XML profilometry data | .xml | dektakxml | Yes | — | — | —
Veeco Dimension 3100D | .001, .002, etc. | dimensionfile | Yes[a] | — | — | —
Digital Micrograph DM3 TEM data | .dm3 | dm3file | Yes | — | — | —
Digital Micrograph DM4 TEM data | .dm4 | dm3file | Yes | — | — | —
DME Rasterscope | .img | dmefile | Yes | — | — | —
Gwyddion dumb dump data | .dump | dumbfile | Yes | — | — | —
ECS | .img | ecsfile | Yes | — | — | —
Evovis XML profilometry data | .xml | evovisxml | Yes | — | — | —
Nanosurf EZD, NID | .ezd, .nid | ezdfile | Yes | — | — | —
FemtoScan SPM | .spm | femtoscan | Yes | — | — | —
FemtoScan text data | .txt | femtoscan-txt | Yes[b] | — | — | —
Flexible Image Transport System (FITS) | .fits, .fit | fitsfile | Yes | — | — | —
VTK structured grid file | .vtk | formats3d | — | Yes | — | —
PLY 3D Polygon File Format | .ply | formats3d | — | Yes | — | —
Wavefront OBJ 3D geometry | .obj | formats3d | Yes | Yes | — | —
Object File Format 3D geometry | .off | formats3d | — | Yes | — | —
Stereolitography STL 3D geometry (binary) | .stl | formats3d | Yes | Yes | — | —
XYZ data | .xyz, .dat | formats3d | Yes | Yes | — | —
DME GDEF | .gdf | gdeffile | Yes | — | — | —
Gwyddion Simple Field | .gsf | gsffile | Yes | Yes | — | —
Gwyddion native data | .gwy | gwyfile | Yes | Yes | Yes | Yes
Gwyddion XYZ data | .gxyzf | gxyzffile | Yes | Yes | — | —
Psi HDF4 | .hdf | hdf4file | Yes | — | — | —
Asylum Research Ergo HDF5 | .h5 | hdf5file | Yes | — | — | —
Hitachi AFM | .afm | hitachi-afm | Yes | — | — | —
Hitachi S-3700 and S-4800 SEM data | .txt + image | hitachi-sem | Yes | — | — | —
WaveMetrics IGOR binary wave v5 | .ibw | igorfile | Yes | Yes | — | —
IntelliWave ESD | .esd | intelliwave | Yes | — | — | —
Intematix SDF | .sdf | intematix | Yes | — | — | —
ISO 28600:2011 SPM data transfer format | .spm | iso28600 | Yes | Yes | Limited[c] | —
JEOL | .tif | jeol | Yes | — | — | —
JPK Instruments | .jpk, .jpk-qi-image, .jpk-force, .jpk-force-map, .jpk-qi-data | jpkscan | Yes | — | Yes | Yes
JEOL JSPM | .tif | jspmfile | Yes | — | — | —
Keyence profilometry VK4 | .vk4 | keyence | Yes | — | — | —
Leica LIF Data File | .lif | leica | Yes | — | — | Yes
Olympus LEXT 4000 | .lext | lextfile | Yes | — | — | —
FEI Magellan SEM images | .tif | magellan | Yes | — | — | —
MapVue | .map | mapvue | Yes | — | — | —
Zygo MetroPro DAT | .dat | metropro | Yes | — | — | —
MicroProf TXT | .txt | microprof | Yes | — | — | —
MicroProf FRT | .frt | microprof | Yes | — | — | —
DME MIF | .mif | miffile | Yes | — | — | —
Molecular Imaging MI | .mi | mifile | Yes | — | Limited[c] | —
Aarhus MUL | .mul | mulfile | Yes | — | — | —
Nanoeducator | .mspm, .stm, .spm | nanoeducator | Yes | — | Yes | —
Nanomagnetics NMI | .nmi | nanomagnetics | Yes | — | — | —
Nanonics NAN | .nan | nanonics | Yes | — | — | —
Nanonis SXM | .sxm | nanonis | Yes | — | — | —
Nanonis STS spectroscopy | .dat | nanonis-spec | — | — | Yes | —
Nano-Solution/NanoObserver | .nao | nanoobserver | Yes | — | Yes | —
Nanoscan XML | .xml | nanoscan | Yes | — | — | —
NanoScanTech | .nstdat | nanoscantech | Yes | — | Yes | Yes
Veeco Nanoscope III | .spm, .001, .002, etc. | nanoscope | Yes | — | Limited[c] | Yes
Veeco Nanoscope II | .001, .002, etc. | nanoscope-ii | Yes | — | — | —
NanoSystem profilometry | .spm | nanosystemz | Yes | — | — | —
Nanotop SPM | .spm | nanotop | Yes | — | — | —
GSXM NetCDF | .nc | netcdf | Yes | — | — | —
Nano Measuring Machine profile data | .dsc + .dat | nmmxyz | Yes[d] | — | — | —
Nearly raw raster data (NRRD) | .nrrd | nrrdfile | Yes[e] | Yes[f] | — | Yes
NT-MDT | .mdt | nt-mdt | Yes | — | Yes | Yes
EM4SYS NX II | .bmp | nxiifile | Yes | — | — | —
Olympus OIR | .oir | oirfile | Yes | — | — | —
Olympus packed OIR | .poir | oirfile | Yes | — | — | —
NT-MDT old MDA | .sxml + .dat | oldmda | — | — | — | Yes
Olympus LEXT 3000 | .ols | ols | Yes | — | — | —
Open Microscopy OME TIFF | .ome.tiff, .ome.tif | ometiff | Yes | — | — | —
Omicron SCALA | .par + .tf*, .tb*, .sf*, .sb* | omicron | Yes | — | Yes | —
Omicron flat format | .*_flat | omicronflat | Yes | — | — | —
Omicron MATRIX | .mtrx | omicronmatrix | Yes | — | Limited[c] | Yes
Wyko OPD | .opd | opdfile | Yes | — | — | —
Wyko ASCII | .asc | opdfile | Yes | — | — | —
OpenGPS X3P (ISO 5436-2) | .x3p | opengps | Yes | — | — | —
NASA Phoenix Mars mission AFM data | .dat, .lbl + .tab | phoenix | Yes | — | — | —
Pixmap images | .png, .jpeg, .tiff, .tga, .pnm, .bmp | pixmap | Yes[g] | Yes[h] | — | —
Nanosurf PLT | .plt | pltfile | Yes | — | — | —
Pacific Nanotechnology PNI | .pni | pnifile | Yes | — | — | —
Princeton Instruments camera SPE | .spe | princetonspe | Yes | — | — | —
Park Systems | .tiff, .tif | psia | Yes | — | — | —
SymPhoTime TTTR v2.0 data | .pt3 | pt3file | Yes | — | — | —
Quesant AFM | .afm | quesant | Yes | — | — | —
Raw text files | any | rawfile | Yes | — | — | —
Raw binary files | any | rawfile | Yes | — | — | —
Graph text data (raw) | any | rawgraph | Yes[i] | — | — | —
Renishaw WiRE Data File | .wdf | renishaw | Yes | — | Yes | Yes
RHK Instruments SM3 | .sm3 | rhk-sm3 | Yes | — | Limited[c] | —
RHK Instruments SM4 | .sm4 | rhk-sm4 | Yes | — | Limited[c] | —
RHK Instruments SM2 | .sm2 | rhk-spm32 | Yes | — | Limited[c] | —
Automation and Robotics Dual Lens Mapper | .mcr, .mct, .mce | robotics | Yes | — | — | —
S94 STM files | .s94 | s94file | Yes | — | — | —
Surfstand Surface Data File | .sdf | sdfile | Yes | Yes | — | —
Micromap SDFA | .sdfa | sdfile | Yes | — | — | —
Seiko SII | .xqb, .xqd, .xqt, .xqp, .xqj, .xqi | seiko | Yes | — | — | —
Sensofar PLu | .plu, .apx | sensofar | Yes | — | — | —
Sensofar PLUx data | .plux | sensofarx | Yes | — | — | —
Sensolytics DAT | .dat | sensolytics | Yes | — | — | —
Shimadzu | .sph, .spp, .001, .002, etc. | shimadzu | Yes | — | — | —
Shimadzu ASCII | .txt | shimadzu | Yes | — | — | —
IonScope SICM | .img | sicmfile | Yes | — | — | —
Surface Imaging Systems | .sis | sis | Yes | — | — | —
Thermo Fisher SPC File | .spc | spcfile | — | — | Yes | —
SPIP ASCII | .asc | spip-asc | Yes | Yes | — | —
Thermicroscopes SPMLab R4-R7 | .tfr, .ffr, etc. | spmlab | Yes | — | — | —
Thermicroscopes SPMLab floating point | .flt | spmlabf | Yes | — | — | —
SPML (Scanning Probe Microscopy Markup Language) | .xml | spml | Yes | — | — | —
ATC SPMxFormat data | .spm | spmxfile | Yes | — | — | —
Omicron STMPRG | tp*, ta* | stmprg | Yes | — | — | —
Molecular Imaging STP | .stp | stpfile | Yes | — | — | —
Surf | .sur | surffile | Yes | — | — | —
Tescan MIRA SEM images | .tif | tescan | Yes | — | — | —
Tescan LYRA SEM images | .hdr + .png | tescan | Yes | — | — | —
FEI Tecnai imaging and analysis (former Emispec) data | .ser | tiaser | Yes | — | Yes | Yes
Corning Tropel exported CSV data | .csv | ttffile | Yes | — | — | —
Unisoku | .hdr + .dat | unisoku | Yes | — | — | —
WinSTM data | .stm | win_stm | Yes | — | — | —
WITec Project data | .wip | wipfile | Yes | — | Yes | Yes
WITec ASCII export | .dat | witec-asc | Yes | — | — | —
WITec | .wit | witfile | Yes | — | — | —
AFM Workshop data | .wsf | wsffile | Yes | — | — | —
Nanotec WSxM | .tom, .top, .stp | wsxmfile | Yes | Yes | — | —
Nanotec WSxM curves | .cur | wsxmfile | Yes | — | — | —
Carl Zeiss SEM scans | .tif | zeiss | Yes | — | — | —
Carl Zeiss CLSM images | .lsm | zeisslsm | Yes | — | — | Yes
Zemax grid sag data | .dat | zemax | Yes | — | — | —
OpenEXR images | .exr | hdrimage | Yes | Yes | — | —